## Price list
Image | Part Number | Description | TRADE Price
Indoor Detectors
| RXC-ST | 12m x 12m Digital Quad Zone Logic, PIR | 10
| RXC-DT-X5 | 12m x 12m 85 degs, Volumetric Digital Quad Zone Logic, PIR / MW | 22
| RXC-RST | 12m x 12m Digital Quad Zone Logic, Low current battery version | 28
| RXC-RDT-X5 | 12m x 12m 85 degs, Volumetric Digital Quad Zone Logic, PIR / MW, Low current battery version | 50
| FMX-ST | 15m x 15m, Digital Quad Zone Logic(78 zones), Plug-in EOL, PIR | 22
| FMX-DST | 15m x 15m, Digital Quad Zone Logic(78 zones), Plug-in EOL, Double Conductive Filter, PIR | 27
| FMX-DT-X5 | 15m x 15m, Digital Quad Zone Logic(78 zones), Plug-in EOL, Silent relay, PIR / MW | 34
| CDX-AM | 15m wide EN grade 3 PIR with anti-masking function | 39
| CDX-NAM | 24m x 2m narrow area EN grade 3 PIR with anti-masking function | 41
| CDX-DAM-X5 | 15m wide EN grade 3 PIR/ MW detector with anti-masking function | 46
| CX-702(C) | Wide angle 21m x 21m, Long range 45m x 2.4m, PIR | 61
| CX-702 MKII | Wide angle 21m x 21m, Long range 45m x 2.4m, PIR, EN Grade 2 | 61
| CX-702RSC | Wide angle 21m x 21m, Long range 45m x 2.4m, low current battery version | 71
| FX-360 | 360 degree, 12m Coverage, Ceiling Mount | 36
| SX-360Z | Quad Element Ceiling Mount, 360 degree, 18m coverage | 84
| MX-40PT | 12 x 12m Wide Angle, Dual Technology PIR / MW with QUAD Logic, Pet immunity | 30
| MX-40QZ | 12 x 12m Wide Angle, Dual Technology PIR / MW with QUAD Logic | 27
| MX-50QZ | 15 x 15m Wide Angle, Dual Technology PIR / MW with QUAD Logic | 34
| VIBRO-WH | Vibration sensor; white cover | 18.5
Accessory and Maintenance parts for Indoor and Outdoor detectors
| BA-70 BRACKET | Transmitter back box for CX-702RS | 8
| CA-1W BRACKET | Multi angle wall mount bracket for LX-402/802N and CX-702/702RS | 6
| CA-2C BRACKET | Multi angle ceiling mount bracket for LX-402/802N and CX-702/702RS | 6
| CA-1W(W) BRACKET | Multi angle wall mount bracket for QXI-ST/DT/R/RDT | 6 | New
| CA-2C(W) BRACKET | Multi angle ceiling mount bracket for QXI-ST/DT/R/RDT | 6 | New
| EA-1W BRACKET | Wall mount bracket for OML-DAM/DT/ST/AM, DX-40/60, DX-40/60PLUS, CX-502/502AM, FX-40/40D | 4
| FA-1W BRACKET | Multi angle wall mount bracket for OML-DAM/DT/ST/AM, DX-40/60, DX-40/60PLUS, CX-502/502AM, FX-40/40D | 4
| FA-2C BRACKET | Multi angle ceiling mount bracket for OML-DAM/DT/ST/AM, DX-40/60, DX-40/60PLUS, CX-502/502AM, FX-40/40D | 4
| FA-3 BRACKET | Multi angle wall & ceiling mount bracket for OML-DAM/DT/ST/AM, DX-40/60, DX-40/60PLUS, CX-502/502AM, FX-40/40D | 4
| CL-80N LENS | Long-range lens for CX-502/502AM, OML-ST (Order lot: 5 pcs/order, or its multiplied quantity.) | 4
| FL-60N LENS | Long-range lens for FX-40, RX-40QZ/40PT, RXC-ST (Order lot: 5 pcs/order, or its multiplied quantity.) | 4
| PEU-B(PACK) | Alarm: 4.7kOhm / Tamper: 4.7kOhm / Trouble: 6.8kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 58.8
| PEU-C(PACK) | Alarm: 1.0kOhm / Tamper: 1.0kOhm / Trouble: 12kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 58.8
| PEU-D(PACK) | Alarm: 1.0kOhm / Tamper: 1.0kOhm / Trouble: 3.0kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 58.8
| PEU-E(PACK) | Alarm: 1.1kOhm / Tamper: 1.1kOhm / Trouble: 15kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 58.8
| PEU-F(PACK) | Alarm: 5.6kOhm / Tamper: 5.6kOhm / Trouble: 5.6kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 58.8
| PEU-G(PACK) | Alarm: 8.2kOhm / Tamper: 8.2kOhm / Trouble: 8.2kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 123.9
| PEU-H(PACK) | Alarm: 4.7kOhm / Tamper: 2.2kOhm / Trouble: 2.2kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 123.9
| PEU-I(PACK) | Alarm: 3.3kOhm / Tamper: 3.3kOhm / Trouble: 1.0kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 123.9
| PEU-J(PACK) | Alarm: 6.8kOhm / Tamper: 4.7kOhm / Trouble: 12.0kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 123.9
| PEU-K(PACK) | Alarm: 1.0kOhm / Tamper: 1.0kOhm / Trouble: 2.2kOhm (One pack contains 100pcs.) for FMX, CDX, VXI, VXS, BXS, WXI, WXS | 123.9
Active Infrared Detectors
| AX-70TN(BE) | 20m Single Channel | 100
| AX-130TN(BE) | 40m Single Channel | 102
| AX-200TN(BE) | 60m Single Channel | 108
| AX-100TF(BE) | 30m 4 x Channel | 165
| AX-200TF(BE) | 60m 4 x Channel | 172
| AX-100TFR(BE)C | 30m 4 x Channel, Low current battery version | 296
| AX-200TFR(BE)C | 60m 4 x Channel, Low current battery version | 326
| BX-100PLUS(C) | Small and Discrete Design Photo Beam, 30m | 88
| SL-100TNR | 30m Single Channel, Low current battery version | 184
| SL-200TNR | 60m Single Channel, Low current battery version | 204
| SL-100TNR-CRH | 30m Single Channel, Low current battery version with two packs of CRH-5 | 232
| SL-200TNR-CRH | 60m Single Channel, Low current battery version with two packs of CRH-5 | 252
| SL-200QN(C) | Smart Line Quad Beam 60m photo beam, Single Channel | 276
| SL-350QN(C) | Smart Line Quad Beam 100m photo beam, Single Channel | 312
| SL-650QN(C) | Smart Line Quad Beam 200m photo beam, Single Channel | 336
| SL-200QDP(C) | Smart Line Quad Beam 60m photo beam, 4 x Channel - Professional | 324
| SL-350QDP(C) | Smart Line Quad Beam 100m photo beam, 4 x Channel - Professional | 348
| SL-650QDP(C) | Smart Line Quad Beam 200m photo beam, 4 x Channel - Professional | 380
| SL-200QDM(C) | Smart Line Quad Beam 60m photo beam, 4 x Channel - Master | 382
| SL-350QDM(C) | Smart Line Quad Beam 100m photo beam, 4 x Channel - Master | 410
| SL-650QDM(C) | Smart Line Quad Beam 200m photo beam, 4 x Channel - Master | 448
| SL-350QNR(C) | Smart Line Quad Beam 100m photo beam, Single Channel, Low current battery version | 580
| SL-350QFR(C) | Smart Line Quad Beam 100m photo beam, 4 x Channel - Professional, Low current battery version | 620
| SL-200QDP-BT | Smart Line Quad Beam 60m photo beam for use in beam towers, 4 x Channel - Professional | 280
| SL-350QDP-BT | Smart Line Quad Beam 100m photo beam for use in beam towers, 4 x Channel - Professional | 298
| SL-650QDP-BT | Smart Line Quad Beam 200m photo beam for use in beam towers, 4 x Channel - Professional | 314
| SL-350QFR-BT | Smart Line Quad Beam 100m photo beam for use in beam towers, 4 x Channel - Professional, Low current battery version | 530
Accessory and Maintenance parts for Active Infrared Detectors
| AX-70TN COVER-B | Replacement cover for AX-70/130/200TN (Bronze color logo) | 30
| AX-100TF COVER-S | Replacement cover for AX-100/200TF (Silver color logo) | 30
| AX-100PLUS/ALPHA COV | Replacement cover for AX-100/200PLUS, AX-100/200ALPHA | 30
| AX-250PLUS/350TF COV | Replacement cover for AX-350/650TF, AX-250/500PLUS | 60
| AX-350DH MK3 COVER | Replacement cover for AX-350/650DH | 60
| BX-100P COVER | Replacement cover for BX-100PLUS | 30
| SL COVER | Replacement cover for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM | 60
| AX-TFR COVER | Repacement cover for AX-100/200TFR | 30
| BC-1 BACK COVER | Back cover (pair) for AX-350/650TF and AX-250/500PLUS | 40
| BC-2 BACK COVER | Back cover (pair) for AX-100/200PLUS | 36
| BC-3 BACK COVER | Back cover (pair) for AX-70/130/200TN and AX-100/200TF | 36
| BC-4 BACK COVER | Back cover(pair) for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM, SL-350QFR/350QNR | 38
| PSC-3 POLE SIDE COVER | Pole side cover for AX-70/130/200TN, AX-100/200TF | 34
| PSC-4 POLE SIDE COVER | Pole side cover for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM, SL-350QFR/350QNR | 36
| WC-1 WHITE COVER | White decorative cover for BX-100PLUS | 8
| HU-1 HEATING UNIT | Heating unit (pair) for AX-350/650TF and AX-250/500PLUS | 108
| HU-2 HEATING UNIT | Heating unit (pair) for AX-350/650DH | 84
| HU-3 HEATING UNIT | Heating unit (pair) for AX-70/130/200TN, AX-100/200TF,SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM | 37
| MP-4 MOUNTING BRACKET | Main unit mounting bracket set ( for tower mounting) for AX-100/200TFR | 22
| SP-1 SPACER | Spacer unit for BX-100PLUS | 8
| ABC-4 | Anti Bird Cap(pair) for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM, SL-350QFR/350QNR | 14
| BAU-4 | Beam Alignment Unit for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM, SL-350QFR/350QNR | 1180
| CBR-4 | Conduit Bracket for SL-200/350/650QN, SL-200/350/650QDP, SL-200/350/650QDM | 30
| EC-4 | Extension cable for beam tower(pair) for SL-350QFR/350QNR | 8
| CRH-5 | CR123A battery holder for SL-100/200TNR (One pack contains 2pcs.) | 24
| PCU-5 | Power converter unit for SL-100/200TNR | 50
| BCU-5 | Battery Common Use Unit for SL-100/200TNR, AX-100/200TFR, SL-350QFR/350QNR | 22
Outdoor detectors
| VXS-AM | 12m 90 degree outdoor PIR hardwired with antimasking | 114
| VXS-DAM-X5 | 12m 90 degree outdoor dual-tech hardwired with antimasking | 124
| VXS-RAM | 12m 90 degree outdoor PIR battery-powerd | 144
| VXS-RDAM-X5 | 12m 90 degree outdoor dual-tech battery-powerd with antimasking | 156 | Change
| VXS-AM(W) | 12m 90 degree outdoor PIR hardwired with antimasking, (white body color) | 114
| VXS-DAM-X5(W) | 12m 90 degree outdoor dual-tech battery-powerd with antimasking, (white body color ) | 124 | Change
| VXS-RAM(W) | 12m 90 degree outdoor PIR battery-powerd, (white body color) | 144
| VXS-RDAM-X5(W) | 12m 90 degree outdoor dual-tech battery-powerd with antimasking, (white body color) | 156 | Change
| BXS-ST | 24m Narrow Area outdoor PIR hardwired | 108
| BXS-AM | 24m Narrow Area outdoor PIR hardwired with antimasking | 124
| BXS-R | 24m Narrow Area outdoor PIR battery-powered | 134 | Change
| BXS-RAM | 24m Narrow Area outdoor PIR battery-powered with antimasking | 150
| BXS-ST(W) | 24m Narrow Area outdoor PIR hardwired (white body color) | 108 | Change
| BXS-AM(W) | 24m Narrow Area outdoor PIR hardwired with antimasking (white body color) | 124
| BXS-R(W) | 24m Narrow Area outdoor PIR battery-powered (white body color) | 134 | Change
| BXS-RAM(W) | 24m Narrow Area outdoor PIR battery-powered with antimasking (white body color) | 150
| FTN-ST | Compact Outdoor PIR. 5m x 1m narrow range, IP55 | 42
| FTN-AM | As FTN-ST with Anti-Masking Technology | 73
| FTN-R | Low current battery operated version of FTN-ST | 73
| FTN-RAM | As FTN-R with Anti-Masking Technology | 102
| FTN-R-PT | Slim back box design of FTN-R | 73
| FTN-RAM-PT | Slim back box design of FTN-RAM | 102
| HX-40(C) | High Mount Outdoor PIR 2.5 - 3m, 12m wide, IP55 | 111
| HX-40AM(C) | As HX-40 with Anti-Masking Technology | 129
| HX-40DAM(C) | PIR / Microwave, High Mount, Anti Masking, 12m | 143
| HX-40RAM(C) | Low current battery version of HX-40AM | 158
| HX-80N(C) | 24m x 2m narrow area wireless PIR detector | 130
| HX-80NAM (C) | As HX-80N with Anti-Masking Technology | 148
| HX-80NRAM(C) | Low current battery version of HX-80NAM | 183
| LX-402(C) | 12x15m wide angle, Outdoor, IP54, Double Conductive Shielding | 64
| LX-802N(C) | 2x24m Narrow and Long, Outdoor, IP54, Double Conductive Shielding | 64
| VXI-ST | Advanced Multidimensional, 12m | 86
| VXI-AM | Advanced Multidimensional, 12m, Anti Masking | 99
| VXI-DAM-X5 | PIR / Microwave, Advanced Multidimensional, 12m, Anti Masking | 108
| VXI-R | Advanced Multidimensional, 12m | 113
| VXI-RAM | Advanced Multidimensional, 12m, Anti Masking, Battery operated | 130
| VXI-RDAM-X5 | PIR / Microwave, Advanced Multidimensional, 12m, Anti Masking, Battery operated | 143
| WXI-ST | Multi Dimensional Outdoor Detector 12m x 180° coverage | 150
| WXI-AM | Multi Dimensional Outdoor Detector 12m x 180° coverage with anti-masking | 165
| WXI-R | Battery Operated Outdoor Detector 12m x 180° coverage | 165
| WXI-RAM | Battery Operated Outdoor Detector 12m x 180° coverage with Antimasking | 180 | Change
| WXS-AM | High Mount Multi Dimensional Outdoor Detector 12m x 180° coverage with anti-masking | 188
| WXS-DAM-X5 | High Mount PIR / Microwave Multi Dimensional Outdoor Detector 12m x 180° coverage with anti-masking | 212
| WXS-RAM | High Mount Battery Operated Outdoor Detector 12m x 180° coverage with anti-masking | 212
| WXS-RDAM-X5 | High Mount PIR / Microwave Battery Operated Outdoor Detector 12m x 180° coverage with anti-masking | 234
| QXI-ST | High/Low mount Wide angle PIR Detector 12m x 120° coverage | 70 | New
| QXI-DT-X5 | High/Low mount Wide angle PIR/Microwave Detector 12m x 120° coverage *10.587 GHz | 92 | New
| QXI-DT-X9 | High/Low mount Wide angle PIR/Microwave Detector 12m x 120° coverage *9.425 GHz | 92 | New
| QXI-R | High/Low mount Battery Operated Wide angle PIR Detector 12m x 120° coverage | 91 | New
| QXI-RDT-X5 | High/Low mount Battery Operated Wide angle PIR/Microwave Detector 12m x 120° coverage *10.525 GHz | 119 | New
| QXI-RDT-X9 | High/Low mount Battery Operated Wide angle PIR/Microwave Detector 12m x 120° coverage *9.425 GHz | 119 | New
| BX-80N | 24m Narrow Area for Building Perimeter, Double Conductive Shielding, IP55 | 83
| BX-80NR(C) | Low current battery operated version BX-80N | 117
Accessory and Maintenance parts for Outdoor Detectors
| VXI-CMOD | Visual Verification add-on CAM for VXI-ST/AM/DAM | 139 | TBA
Accessory and Maintenance parts for Outdoor Detectors
| MKP-01 | Area masking plate for WXI series for WXI-ST/AM/R/RAM, WXS-AM/RAM.RAM/RDAM (10pcs.) | 23
| WXI COVER ASSY | Spare cover with lens for WXI series for WXI-ST/AM/R/RAM | 30
| WXI-BB | Back box for WX series for WXI-ST/AM, WXS-AM/DAM | 24
| BH-01 | CR123A Battery holder with dummy battery for WXI-R/RAM, WXS-RAM/RDAM | 17
| PMP-01 | Pole mount plate for WXI-ST/AM/R/RAM, WXS-AM/RAM.RAM/RDAM, BXS-ST/AM/R/RAM | 6
| VXS-FC(W) | White color of face cover for VXS-AM/DAM/RAM/RDAM | 9 | Change
| VXS-FC(S) | Silver color of face cover for VXS-AM/DAM/RAM/RDAM | 9 | Change
| VXS-FC(BK) | Black color of face cover for VXS-AM/DAM/RAM/RDAM | 9 | Change
| VXS COVER ASSY | Replacement white color cover with lens for VXS-AM/DAM/RAM/RDAM | 12
| VXS COVER ASSY(W) | Replacement black color cover with lens for VXS-AM/DAM/RAM/RDAM | 12
| VXS BACK BOX ASSY | Replacement black color back box for VXS-RAM/RDAM | 12
| VXS BACK BOX ASSY (WHITE) | Replacement white color back box for VXS-RAM/RDAM | 12
| BXS BACK BOX(BL) | Replacement black color back box for BXS-R/RAM | 16 | Change
| BXS BACK BOX(W) | Replacement white color back box for BXS-R/RAM | 16
| BXS FACE COVER(BL) | Black color of face cover for BXS-ST/AM/R/RAM | 12
| BXS FACE COVER(W) | White color of face cover for BXS-ST/AM/R/RAM | 12 | Change
| BXS FACE COVER(S) | Silver color of face cover for BXS-ST/AM/R/RAM | 12 | Change
| BXS CAP(BL) | Black color cap for BXS-R/RAM | 4 | Change
| BXS CAP(W) | White color cap for BXS-R/RAM | 4 | Change
| BXS CAP(S) | Silver color cap for BXS-R/RAM | 4 | Change
| LNS-BXS | Spare lens for BXS-ST/AM/R/RAM | 10
| BA-1W BRACKET | Multi angle wall mount bracket for BX-80N (required SP-2 and BX-80NR | 16
| VXI-T BRACKET | Create 180-degree detection area by using two VXI units side by side for VXI-ST/AM/DAM/R/RAM/RDAM | 15.6
| HX-40 BRACKET | Replacement wall mount bracket for HX-40/AM/DAM/RAM | 20
| HX-80 BRACKET | Replacement wall mount bracket for HX-80N/NAM/NRAM | 20
| SP-2 SPACER | Spacer unit for BX-80N (grey) | 16
| SP-2(W) | Spacer unit for BX-80N (white) | 16 | New
| BX-80N COVER | Replacement cover with lens for BX-80N/80NR | 12
| LX-402 COVER | Replacement cover with lens for LX-402 | 8
| LX-802N COVER | Replacement cover with lens for LX-802N | 8
| VX-402REC COVER | Replacement cover with lens for VX-402REC | 12
| VX-402/VX-402R COVER | Replacement cover with lens for VX-402/402R | 12
| VXI COVER ASSY | Replacement cover with lens for VXI-ST/AM/DAM, VXI-R/RAM/RDAM | 12
| HX-40 COVER | Replacement cover with lens for HX-40/AM/DAM/RAM | 22
| HX-80 COVER | Replacement cover with lens for HX-80N/NAM/NRAM | 22
| FTN-R/RAM BACK BOX | Replacement back box for FTN-R/RAM (Connectors and screws x 2 are not included) | 14
| FTN-R/RAM BIG BACK BOX | Big back box for FTN-R/RAM (Connectors and screws x 2 are not included) | 9
| VX-402R BACK BOX | Replacement back box for VX-402R (U bracket and screws are not included) | 12
| VXI BACK BOX ASSY | Replacement back box for VXI-R/RAM/RDAM | 12
| VX-LENS PACK | Replacement lens for VX-402/402R (Order lot: 5 pcs/order, or its multiplied quantity.) | 4.2
| WRS-02 WALL TAMPER | Wall tamper for FTN-ST/AM and VXI-ST/AM/DAM | 8
| WRS-03 WALL TAMPER | Wall tamper for FTN-R/RAM | 8
| WRS-04 WALL TAMPER | Wall tamper for VXI-R/RAM/RDAM | 5.8
| VXI-MASKING SEAL 1 AND 2 | Seal 2 : Both Side area | 2
| VXI-MASKING SEAL 3 AND 4 | Seal 3 : 5 x 10m area, Seal 4 : 1.5 x 10m area | 2
| VXI-MASKING SEAL 5 AND 6 | Seal 5 : 10 x 5m area, Seal 6 : 10 x 1.5m area | 2
| RBB-01 | Battery box for VXI-R/RAM/RDAM, VXS-RAM/RDAM, HX40RAM, HX-80NRAM | 9
| MG-1 METAL GUARD | Vandal and tamper resistant metal guard for BX-80N, BX-100PLUS | 28
inovonics (i-Series Wireless Sensors)
| EE1216TW | EE1216 TX with cable for AX-UBB | 88
| EE1216 | Inovonics EE1216 wireless transmitter. 2 input universal transmitter with wall tamper | 72.2
| EE4216MR | Inovonics wireless receiver unit 16ch to handle 16 transmitter/ 6 relay outputs | 259.8
| EE4232M | Inovonics wireless receiver unit 32ch to handle 32 transmitter/ 12 open collector output | 301.6
| EE5000 | Inovonics wireless repeater unit. 12V power supply.* If mounted externally, suitable enclosure box is reuired. | 337.8
Texexom Ricochet RF transmitter
| BGR-01 | Ricochet OPTEX Detector Module (Battery) - 868MHz | 78
Red products (Battery Operated SIP Series Passive Infrared Sensors)
| SIP-4010 | Redwall-V 40m x 10m external PIR detector with advanced detection algorithm | 410
| SIP-404 | Redwall-V 40m x 4m external PIR detector with advanced detection algorithm | 410
| SIP-3020 | Redwall-V 30m x 20m external PIR detector with advanced detection algorithm | 410
| SIP-4010/5 | Redwall-V 40m x 10m external PIR detector with independent 5m x 5m creep zone detector | 564
| SIP-404/5 | Redwall-V 40m x 4m external PIR detector with independent 5m x 5m creep zone detector | 564
| SIP-3020/5 | Redwall-V 30m x 20m external PIR detector with independent 5m x 5m creep zone detector | 564
| SIP-5030 | Redwall-V 50m x 30m external PIR detector with independent 5m x 5m creep zone detector | 810
| SIP-100 | Redwall-V 100m x 3m external PIR detector with 3 outputs for PTZ camera control | 830
Red products (Battery Operated SIP Series Passive Infrared Sensors)
| SIP-3020WF | Redwall-V 30mx20m low current external PIR | 440
| SIP-404WF | Redwall-V 40mx4m low current external PIR | 440
| SIP-4010WF | Redwall-V 40mx10m low current external PIR | 440
* Wireless transmitter and battery required
* 3 to 9VDC Alkaline or lithium battery required
Red products (SIP-IP Series Passive Infrared Sensors)
| SIP-4010-IP-BOX | 40m x 10m for IP system, Power over Ethernet, Storage box for PIE-1 | 622
| SIP-404-IP-BOX | 40m x 4m for IP system, Power over Ethernet, Storage box for PIE-1 | 622
| SIP-3020-IP-BOX | 30m x 20m for IP system, Power over Ethernet, Storage box for PIE-1 | 622
| SIP-4010/5-IP-BOX | SIP-4010-IP with independent 5m x 5m creep zone detector, Storage box for PIE-1 | 776
| SIP-404/5-IP-BOX | SIP-404-IP with independent 5m x 5m creep zone detector, Storage box for PIE-1 | 776
| SIP-3020/5-IP-BOX | SIP-3020-IP with independent 5m x 5m creep zone detector , Storage box for PIE-1 | 776
| SIP-5030-IP-BOX | 50m x 30m with independent 5m x 5m creep zone detector for IP system, Power over Ethernet, Storage box for PIE-1 | 1022
| SIP-100-IP-BOX | 100m x 3m with 3 outputs suitable for IP PTZ camera control, Power over Ethernet, Storage box for PIE-1 | 1042
Red products (SIP Series Accessories)
| AWT-3 | Enhanced audio walk tester for LRP/SIP/OPM/ Redscan series detector | 150
| SIP-AT | SIP series area adjustment tool kit, inc AWT-3, AVF-1, area plate set | 240
| AVF-1 | Area View Finder for SIP series detection area adjustment | 30
| SIP-HU | Heating Unit for SIP series detectors - 24vAC | 70
| SIP-MINIHOOD | Sun/Snow Hood for SIP-4010, 404, 3020, 4010/5, 404/5, 3020/5, SIP-WF series | 70
| SIP-MIDIHOOD | Sun/Snow Hood for SIP-5030, 100 | 70
| SIPLRP-PB | Pole mount bracket for LRP and SIP series compatible | 70
Red products (IP- Accessories)
| PIE-1 | PoE IP Encoder | 160
| PIE-1-Enclosure | Die Cast SIP-IP enclosure | 52
Red products (REDSCAN Laser Sensors)
| RLS-3060SH | Redscan Ultimate, Laser Scan Detector, 30m radius,190 degree area | 5430
| RLS-3060L | Redscan Lite, 30m radius,190 degree area | 3720
| RLS-3060SH-POE | Redscan Ultimate, laser scan detector 30m radius 190 degree area, Power over Ethernet | 5590
| RLS-3060L-POE | Redscan Lite, laser scan detector, 30m radius 190 degree area, Power over Ethernet | 3880
| RLS-2020I | Redscan mini 20m x 20m, 95 degree, Indoor use | 1650
| RLS-2020S | Redscan mini 20m x 20m, 95 degree, Indoor and Outdoor use | 2100
Red products (REDSCAN Accessories)
| LAC-1 | Laser Area Checker | 102
| RLS-PB | Stainless Pole Mount Bracket for RLS-3060 and RLS-2020 | 180
| RLS-SB | Stainless Adjustable Angle Mount Bracket for RLS-3060 | 410
| RLS-RB | Recess mount Bracket for RLS-2020 | 84
| RLS-LW | Redscan mini Laser window for RLS-2020 | 38
| 2020WMA | 12" Wall Mount bracket for RLS-2020 (Production by order. LT is 60 days) | 100
| 2020PDME | Pendent Mount bracket for RLS-2020 (Production by order. LT is 60 days) | 114
| 2020PLMK | Round Pole Mount plate for 2020WMA for RLS-2020 (Production by order. LT is 60 days) | 90
| 2020CMB | Corner Mount plate for 2020WMA for RLS-2020 (Production by order. LT is 60 days) | 80
| 2020WMA8 | 8" Wall Mount Bracket for RLS-2020 (Production by order. LT is 60 days) | 90
| 2020ANGS | Wall/Ceiling Adjustable Head Mount bracket, 24" pole for RLS-2020 (Production by order. LT is 60 days) | 258
| 2020ANGX | Longer model of 2020ANGS, 38" and 62" adjustable for RLS-2020 (Production by order. LT is 60 days) | 324
FSI (Rapid REDFIBER - Fibre Sensys)
| RRF-APU | Rapid REDFIBER control equipment, enclosure, ties and programming software. | 3420
| RRF-APU-POE | Rapid REDFIBER control equipment, enclosure, ties and programming software - POE version | 3590
| RRF-75 | 75m SC-4 Fibre zone, Pre-terminated | 940
| RRF-100 | 100m SC-4 Fibre Zone, Pre-terminated | 1260
| RRF-150 | 150m SC-4 Fibre Zone, Pre-terminated | 1840
| RRF-200 | 200m SC-4 Fibre Zone, Pre-terminated | 2370
Services
OPTEX offers support and installation services to assist in developing projects/sites from design through ongoing maintenance. Training classes can also be scheduled at client locations or our offices on request basis. Additional services include: Technical services, Installation certification, Engineering services, Site survey and Troubleshooting
| Onsite Technical Services | Eight-hour day (Travel days will be billed in addition to onsite services) | 1000
| Onsite Technical Services | Hourly (four-our minimum) | 150
| Training class at our office | Daily rate based on course requirement. | 250
| Training class at client location | Daily rate based on course requirement. (Ttravel days will be billed in addition to training class.) | 750
Software development/ Integration
Image | Part Number | Description | TRADE Price
Bunker (Ground mounting, 360°)
| TW50 | 50cm 360º Beam Tower Floor | 200
| TW100 | 1m 360º Beam Tower Floor | 240
| TW150 | 1,5m 360º Beam Tower Floor | 370
| TW200 | 2m 360º Beam Tower Floor | 470
| TW300 | 3m 360º Beam Tower Floor (lateral supports incl.) | 730
| STW050 | 50cm 180º Beam Tower Floor | 190
| STW100 | 1m 180º Beam Tower Floor | 230
| STW150 | 1,5m 180º Beam Tower Floor | 340
| STW200 | 2m 180º Beam Tower Floor | 390
| STW300 | 3m 180º Beam Tower Floor | 660
| STW050M | 50cm 180º Wall Mount Beam Tower | 170
| STW100M | 1m 180º Wall Mount Beam Tower | 220
| STW150M | 1,5m 180º Wall Mount Beam Tower | 270
| STW200M | 2m 180º Wall Mount Beam Tower | 330
| STW300M | 3m 180º Wall Mount Beam Tower | 430
| TWAA | Pressure Tamper Switch | 66
| TWH24V | 24vDC Heater unit - 2 per beam set | 34
| TWT | Thermostat - 1 per tower | 36
| TW FAN 12V | Enclosure FAN 12vDC | 22
| TW FAN 24V | Enclosure FAN 24vDC | 22
| TWEB | Wet concrete bolt set - For 1st fix use - Ground mounting, 360° models | 72
| TWSAX | Beam unit mounting bracket - MK3 | 10
| TWSSL | Beam unit mounting bracket - TRF & SL | 12
| TWSTB | 0.7m leg supports for 3m tower | 72
| TWCAB | Wire support for 3m tower | 170
| TWC | Camera top housing | 146
| TWE | Light top housing | 146
| TWSM | Wall Bracket for double sided tower | 40
| PTFA | Battery holder | 20
| TW CLIP | Loom cable tie - 10pck | 8
| STWEB | Wet concrete bolt set - For 1st fix use - Ground mounting, 180° models | 35
Bunker (Tower Spare Parts)
| TWTOP | Caps/Bottoms for TW100/TW200 | 30
| TWMTOP | Caps/Bottoms for TW100M/TW200M | 32
| TWBASE | Standard TW aluminum Base | 90
| TWPX1 | Polycarbonate 98 cms | 72
| TWPX1,5 | Polycarbonate 148 cms | 108
| TWPX2 | Polycarbonate 199 cms | 144
| TWPX3 | Polycarbonate 299 cms | 216
| BOX3601 | Box 1m | 8
| BOX3601,5 | Box 1,5m | 10
| BOX3602 | Box 2m | 12
| BOX3603 | Box 3m | 14
Pre-assembled Tower (Ground mounting, 360°)
| TWD202RR | 360° tower, ground mounting. Height = 2m, Sensors per side: 1 (RECEIVERs in both sides); 2 mother boards with thermostat, 2 heaters and 1 anti-opening tamper included. Also beam brackets. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 724
| TWD204RR | 360° tower, ground mounting. Height = 2m, Sensors per side: 2 (RECEIVERs in both sides); 2 mother boards with thermostat, 4 heaters and 1 anti-opening tamper included. Also beam brackets. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 836
| TWD306RR | 360° tower, ground mounting. Height = 3m, Sensors per side: 3 (RECEIVERs in both sides); 2 mother boards with thermostat, 6 heaters and 1 anti-opening tamper included. Also beam brackets. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 1346
Pre-assembled Tower (Ground mounting, 180°)
| STW201RR | 180° tower, ground mounting. Height = 2m, Sensors per side: 1 (RECEIVER); 1 mother board with thermostat, 1 heater and 1 anti-opening tamper included. Also beam brackets, wiring and other small parts. Everything pre-wired, ready to install. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 562
| STW202RR | 180° tower, ground mounting. Height = 2m, Sensors per side: 2 (RECEIVERs); 1 mother board with thermostat, 2 heaters and 1 anti-opening tamper included. Also beam brackets, wiring and other small parts. Everything pre-wired, ready to install. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 616
| STW303RR | 180° tower, ground mounting. Height = 3m, Sensors per side: 3 (RECEIVERs); 1 mother board with thermostat, 3 heaters and 1 anti-opening tamper included. Also beam brackets, wiring and other small parts. Everything pre-wired, ready to install. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 1032
Pre-assembled Tower (Wall mounting, 180°)
| STWM201RR | 180° tower, wall mounting. Height = 2m, Sensors per side: 1 (RECEIVER); 1 mother board with thermostat, 1 heater and 2 anti-opening tamper (top and bottom) included. Also beam brackets, wiring and other small parts. Everything pre-wired, ready to install. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 516
| STWM202RR | 180° tower, wall mounting. Height = 2m, Sensors per side: 2 (RECEIVERs); 1 mother board with thermostat, 2 heaters and 2 anti-opening tamper (top and bottom) included. Also beam brackets, wiring and other small parts. Everything pre-wired, ready to install. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 572
| STWM303RR | 180° tower, wall mounting. Height = 3m, Sensors per side: 3 (RECEIVERs); 1 mother board with thermostat, 3 heaters and 2 anti-opening tamper (top and bottom) included. Also beam brackets. (Price of IR beams not included). Applicable to SL-200/350/650QDP-BT | 816
Spare Parts of Pre-assembled Tower
| TWMR FAN12V KIT | 12V fan kit for pre-assembled towers | 32
| TWMR FAN24V KIT | 24V fan kit for pre-assembled towers | 32
| DC12V | Power Supply 12V - 3,5A with bracket for pre-assembled towers | 66
| DC24V | Power Supply 24V - 1,8A with bracket for pre-assembled towers | 66
Beam unit installation charge (on request basis)
| Beam unit installation charge (per tower) | SL-200/350/650BT is mounted into the Pre-assembled tower. (On request basis) | 20